CITY OF COOKEVILLE

MINIMUM BUILDING PERMIT REQUIREMENTS 

* ALL PLANS TO SCALE *

* SEPARATE PERMITS for MECHANICAL, PLUMBING, ELECTRIC  & SIGNS*

SINGLE FAMILY RESIDENCE  
SITE PLAN


Lot size with setbacks, driveway,  & drainage

FLOOR PLAN

Dimensions with door & window schedules

FRAMING  PLAN
Floors, walls & rafter sizes, & elevation.  Joist & rafter plans must have

WALL SECTION

Sizes of footings, to roof, insulation, & ventilation

COMMERCIAL, INDUSTRIAL, RESIDENTIAL: ALL MULTI-FAMILY

If total floor plan is greater than 5,000 S.F., a Tennessee Registered Architect or Engineer is required

SITE PLAN
Lot size, parking, setbacks, driveway, & drainage, zoning classification, sidewalks – existing & proposed

EROSION CONTROL PLAN
Required Grading Plan, Soil Erosion & Sediment Control Plans, Warranty required, PRE-APPLICATION CONFERENCE required

STORMWATER
Engineered drainage plans if over 10,000 SF

LANDSCAPE
City of Cookeville Zoning Ordinance 

FRAMING

Floors, walls, ceiling, roof & insulation

STRUCTURAL
Weight bearing floors, walls, footings, foundation

ELECTRICAL
All circuits, plugs, switches, lights & panel, fire alarm, exit lights & smoke detectors

PLUMBING

All fixtures, locations, with water pipes-drain pipes

MECHANICAL
Heating/Air Conditioning equipment, ducts, gas piping, wires sizes, ventilation
FLOOR PLAN
Building, rooms, doors & window sizes, exits, firewalls separating tenant suites

FIRE SPRINKLERS
According to usage and size of building

